Current Adopted Ohio Building Codes

Required for Springfield, Ohio

Commercial Codes

- 2024 Ohio Building Code (OBC)

- 2024 Ohio Existing Building Code (OEBC)

- 2024 Ohio Mechanical Code (OMC)

- 2017 Ohio Fire Code (OFC)

- 2021 International Fuel Gas Code (IFGC)

- 2021 International Energy Code (IECC)

- 2023 NFPA 70 – National Electric Code (NEC)

- 2022 NFPA 13 – Standard for Installation of Sprinkler Systems (Fire Suppression)

- 2022 NFPA 72 – National Fire Alarm and Signaling Code (Fire Alarm)

- 2017 ICC A117.1 – Accessible & Usable Buildings & Facilities (new construction & additions)

- 2009 ICC  A117.1 – Accessible & Usable Buildings & Facilities (alterations & change of occupancy)

Residential Codes

- 2019 Residential Code of Ohio (RCO)

- 2023 NFPA 70 – National Electric Code (NEC)

- 2018 International Energy Conservation Code (IECC)

- NOTE: 2024 Ohio Plumbing Code (OPC); is enforced for both Commercial & Residential

Plumbing Enforcement by:  The Clark County Combined Health District

Current: City of Springfield Codes

- CODIFIED ORDINANCES of Springfield: Part 13 – Building Code

Design Criteria: City of Springfield, Ohio

Roof Snow Load                       20 lbs.                                      Decay                              Slight to Moderate

Wind Speed                          115 mph                          Winter Design Temp.                    5 degrees F

Seismic Design Cat.                     A                            Ice Shield Underlayment Req.                Yes

Weathering                           Severe                                  Flood Hazard                    see local F.P. Admin.

Frost Line Depth                        32”                                 Air Freezing Index                    less than 1,500

Termite Damage           Moderate to Heavy           Mean Annual Temperature           50 degrees F